AQUASCUD 501

Supply and installation of solvent-free, ready-to-use, cold-cured, elastic, waterproofing coating based on acrylic resins in water emulsion.

The product shall be characterized by high resistance to foot traffic and shall be applied in two cross coats, 12 hours apart, using a total consumption of 1.5 to 2.0 kg/m², depending on the type and porosity of the substrate.

The material must have the following characteristics:

Certification according to EN 11928 Standard

Initial requirements UNI 11928-1:2023

Feature, Test method, Performance requirements, Declared performance

Reaction to fire (UNI EN 13501-1): Declared Euroclass / Euroclass E

Watertightness (water passage with 60 KPa), UNI EN 1928: No passage / No passage

Water vapour transmission properties (UNI EN ISO 7783): Class / Class I

Direct tensile adhesion, concrete type MC (0,40), UNI EN 1542: ≥ 0.5 N/mm² / ≥ 1.0 N/mm²

Impact resistance (UNI EN 6272-1): Class / Class III

Static punching (UNI EN 12730): Maximum value > 50 N / ≥ 50 N

Dynamic crack bridging (23°C), UNI EN 1062-7: Class B2 / Class B4.1

Dynamic crack bridging at low temperatures (-10°C), UNI EN 1062-7: Class B1 / Class B2

Slipping resistance (UNI EN 13036-4): Class / Class II

Capillary absorption (UNI EN 1062-1): W ≤ 0.1 Kg/m²*h⁻⁰·⁵ / W ≤ 0.1 Kg/m²*h⁻⁰·⁵

Durability UNI 11928-1:2023

Feature, Test method, Performance requirements, Declared performance

Heat ageing resistance 7 days at70±3°C (Watertightness), point 4.1 of UNI EN 1062-11:2003: No passage / No passage

Acceptance criteria after exposure (UNI EN ISO 4628-2, UNI EN ISO 4628-4, UNI EN ISO 4628-5): No swelling, No cracking, No spalling / No swelling, No cracking, No spalling

Frost/thaw Without thawing salts 20 cycles (Adhesion to substrate), UNI EN 13687-3: ≥ 0.5 N/mm² / ≥ 1.0 N/mm²

Acceptance criteria after exposure (UNI EN ISO 4628-2, UNI EN ISO 4628-4, UNI EN ISO 4628-5): No swelling, No cracking, No spalling / No swelling, No cracking, No spalling

UV (400 MJ/m², 2460 hours) and Spray (492 hours), UNI EN ISO 4892-3: - / -

Acceptance criteria after exposure (UNI EN ISO 4628-2, UNI EN ISO 4628-4, UNI EN ISO 4628-5): No swelling, No cracking, No spalling / No swelling, No cracking, No spalling

Hazardous substances: See safety data sheets

Feature, Test method, Category, Certified performance (**)

Resistance to static indentation (EOTA TR 007): Load: P4 / Level L4 (with load category P4)

Resistance to dynamic indentation (EOTA TR 006): Punch I4 / Level L4

*Values recorded at a temperature of 23°C and a humidity of 50%. The data expressed may vary depending on the thickness of the product applied and specific site conditions: temperature, humidity, ventilation, substrate absorbency.

EN Specifications n. CB14-CB15-CB16 | CP | 00 | 01 | W | 07/26

Feature, Test method, Category, Certified performance (**)

Resistance to static indentation (EOTA TR 007): Load: P4 / Level L4 (with load category P4)

Resistance to dynamic indentation (EOTA TR 006): Punch I4 / Level L4

*Values recorded at a temperature of 23°C and a humidity of 50%. The data expressed may vary depending on the thickness of the product applied and specific site conditions: temperature, humidity, ventilation, substrate absorbency.

as well as Aquascud 501 Volteco or a product with equal or superior characteristics.

The technical data must be supported by test certification issued by an accredited official laboratory and / or be

subjected to quality control according to ISO 9001.

For further details on the individual products and installation specifications, refer to the relevant technical data sheets which can be downloaded in the updated version on the website www.volteco.com.

EN Specifications n. CB14-CB15-CB16 | CP | 00 | 01 | W | 07/26