CRYSTAL

Supply and installation of single-component, self-crosslinking acrylic resin-based paint in water dispersion, ready for use, applied in a double coat with a thickness of at least 200-250 microns depending on the roughness of the substrate.

The product must be used as an impregnating and consolidating agent for concrete, stone, marble and bricks.

The material must have the following characteristics:

Specification and Values

Appearance: Matt transparent paint

Workability time at +20°C and 70% RH: dry dust free: 2-3 hours; hrough dry: 24 hours

Specific weight: 0.91 kg/l

as well as Crystal Volteco or a product with equal or superior characteristics.

The technical data must be supported by test certification issued by an accredited official laboratory and/or be subjected to quality control according to ISO 9001.

For further details on the individual products and installation specifications, refer to the relevant technical data sheets which can be downloaded in the updated version on the website www.volteco.com.

EN Specifications n. EQ19-20 | CP | 00 | 01 | W | 07/26