PROFIX 40

Supply and installation of pigmented primer based on micronised acrylic resins in aqueous dispersion with a high covering capacity, containing calibrated fillers that help increase the adhesion properties of subsequent coatings or paints...

The product must be used for the preparation of mineral or synthetic substrates, both external and internal, in order to adapt the color of the substrate to the tint of the subsequent Cp0, Paint Air and Paint Protection products.

The material must have the following characteristics:

Specification and Values

Appearance: White or coloured liquid, matt effect

Specific weight: 1.47 kg/l

as well as Profix 40 Volteco or a product with equal or superior characteristics.

The technical data must be supported by test certification issued by an accredited official laboratory and/or be subjected to quality control according to ISO 9001.

For further details on the individual products and installation specifications, refer to the relevant technical data sheets which can be downloaded in the updated version on the website www.volteco.com.

EN Specifications n. EN03-EN04-EN05-EN06 | CP | 00 | 01 | W | 07/26